## Slide 1
Spokane River Forum 23 May 2011
CSO Reduction 2011 Status

## Slide 2: What is a CSO?
Treatment Plant
wastewater
CSO Regulator
stormwater

## Slide 3: Why do CSOs overflow?
Stormwater
Runoff
Wastewater Flows
Time
Flow
Overflow Threshold

## Slide 4: CSO Regulator is an Overflow Threshold
Old style “Leaping Weir”

## Slide 5: CSO Reduction History Baseline as of 1980
33 outfalls
1000 average CSOs / year
550 avg million gallons / yr

## Slide 6: CSO Reduction History Phase 1 1980s storm separation
24 outfalls
450 average CSOs / year
80 avg million gallons / yr

## Slide 7: CSO Regulations
Chapter 173-245 WAC:
Frequency:
“… control of each CSO such that an average
of one untreated discharge may occur per year.”
– Applied to each outfall
Water Quality:
“CSOs shall not violate water quality standards
in receiving waters (numeric standards or the
beneficial uses).”
Spokane CSO Compliance - 2017

## Slide 8: CSO 16 Construction

## Slide 9: CSO 16 Tank

## Slide 10: CSO 16 Sump
... Tank Drains to Sewer After Storm
Tank Fills During Storm...

## Slide 11: CSO 16 Self-Cleans After Tank Drains

## Slide 12: CSO 16 Self-Cleans After Tank Drains

## Slide 13: CSO 16 Self-Cleans After Tank Drains

## Slide 14: CSO 16 Site Restoration

## Slide 15: CSO 16 Monitoring & Cleaning Controls

## Slide 16: CSO Facilities Constructed
CSO 10
5
CSO 16
CSO 2
CSO 42
CSO 19
In Construction
Tank not required

## Slide 17: CSO Outfalls Eliminated
CSO 3
2
CSO 18

## Slide 18: Facilities In Final Design
4
CSO 41
CSO 34-3
CSO 33-2
CSO 38/39/40
Eliminates 2 outfalls

## Slide 19: Interim Weir Modifications
CSO 12
9
CSO 7
CSO 39
CSO 25
CSO 26
CSO 14
CSO 6
CSO 15
CSO 40

## Slide 20: Weir Modification “Before”

## Slide 21: Weir Mods provide:
Less dry weather plugging
More response time
Improved monitoring

## Slide 22: Weir Modification “After”

## Slide 23: Weir Modification “After”

## Slide 24: CSO Reduction History Phase 2 Storage Tanks by 2011
22 outfalls
350 average CSOs / year
70 avg million gallons / yr

## Slide 25: CSO Reduction History Phase 2 2017 Projected Results
<20 outfalls
<20 average CSOs / year
<8 avg million gallons / yr