## Slide 1: Who’s Doing What??
“The Spokane River does not meet the State’s standards and is on the 303 ‘D’ List”.

## Slide 2: City of Spokane’s Situation
1,200 miles of sewer lines
400 miles of separate stormwater lines
100 discharge points of stormwater
Over 20,000 catch basins

## Slide 3: Clean-Up and Removal
Highest First - Industrial - Commercial
431 catch basins
278,000 lbs of residue = 25 gr. PCB’s

## Slide 4
431 Catch basins resulting in 41 groups

## Slide 5
PCB Concentration