## Slide 1: Spokane River Dissolved Oxygen TMDL ________ An Idaho Perspective
By Gary Allen
Givens Pursley LLP
March 23, 2010

## Slide 2: An Idaho Perspective
    Background of Idaho Communities
      Post Falls
      HARSB
      Coeur d’Alene
    Economic Impacts of the TMDL
    Phosphorus loading
      Idaho got crumbs at Washington’s table
      Several sources of additional loads are available
    The TMDL is on shaky ground

## Slide 3: City of Post Falls Water Reclamation Facility
Currently serves: City of Rathdrum (7,000) and City of Post Falls (26,000)
Currently achieving better than 90% phosphorus removal.
Current capacity: 3.1 mgd
2027 Expected Flows: 7.65 mgd
Current service area population: 33,000
Projected 2030 service area population: 83,850

## Slide 4: Hayden Area Regional Sewer Board
Currently serves: City of Hayden, Hayden Lake Recreational Water and Sewer District, and the Coeur d’Alene airport
Currently land-applying effluent during growing season.
Current capacity: 2.0 mgd
2030 Expected Flows: 3.2 mgd

## Slide 5: City of Coeur d’Alene
Currently serves: City of Coeur d’Alene
Current flows: 3.3 mgd
2027 expected flows: 7.6 mgd
Current service area population: 44,000
Projected 2027 service area population:
  75,000 low estimate
  85,000 medium estimate

## Slide 6: What are Idaho Communities Willing To Do?

## Slide 7
Notes: Need version without “draft”

## Slide 8: Impact of TMDL on economy
Reduces 2027 GDP by $3.5 billion per year:
TischlerBise, February 26, 2010 at 19.
($3,572)
Notes: Better copy?

## Slide 9: Idaho got crumbs at Washington’s table
Comparison of Washington and Idaho load allocations
Notes: Clearer text?

## Slide 11: Attenuation
Spokane contributes 3.75 times the phosphorus concentration as the Idaho communities:
LimnoTech, March 11, 2010 at 3.
Notes: Highlight key text

## Slide 12: Attenuation (cont’d)
And 3.1 times the chlorophyll-a:
LimnoTech, March 11, 2010 at 4.
Notes: Highlight key text

## Slide 13: DO Model Instability
The DO model shows unexpected flow variations, calling TMDL modeling into question:
LimnoTech, March 11, 2010 at 6.

## Slide 14: Septic Tanks
Septic tanks are illegal point source dischargers.
It is unlawful to include loads for septic tanks in the TMDL.
The septic tank loads should be estimated and removed from the TMDL.
Spokane County should receive sufficient offset for operation.
The remainder should be re-allocated.

## Slide 15: City of Spokane
City of Spokane received an allocation disproportionate to future population:
TischlerBise, February 26, 2010 at 12.
Notes: Clearer copy?

## Slide 16: City of Spokane (cont’d)
The City of Spokane received an allocation including 9.6 MGD of I/I:
City of Spokane Capital Facilities and Utilities Plan, Vol. 2 at 28.
Notes: Clearer copy?

## Slide 17: Delta management
What Ecology told Idaho dischargers about achievability of limits:
TMDL at C-38.
Notes: Highlight second sentence

## Slide 18: Delta Management (cont’d)
What Ecology told Washington dischargers:
TMDL at 37.
Notes: Highlight second sentence

## Slide 19: The TMDL is on shaky ground
    Reservoir or natural lake?
      No source modeling
      What is the standard?
      Application of “natural conditions”
      Application of “dominant aquatic habit”
    Mesotrophic or oligotrophic?
    Replacement of 25 ug/L phosphorus standard without rulemaking
    Wrong eco-region criteria
    Algae blooms?